{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":17,"n_cols":11,"rows_kept":17,"merged":[[0,3,0,10]],"flags":["formulas_cached_only"]}
[{"$nulls":3},"专家楼锅炉房报废设备清单"]
["折旧方法","减少方式","卡片编号","序号","使用部门","部门编号","存放地点","固定资产名称","固定资产编号","规格型号","数量"]
["平均年限法(二)",null,"01737",1,"锅炉房 ","030501","专家楼负一层","锅炉给水泵（蓄热水循环泵）","2003006734","KLWR40-125",1]
["平均年限法(二)",null,"01738",2,"锅炉房 ","030501","专家楼负一层","自动控制系统信号显示器","2003006742","*",1]
["平均年限法(二)",null,"01739",3,"锅炉房 ","030501","专家楼负一层","电子除垢器","2003006741","*",1]
["平均年限法(二)",null,"01740",4,"锅炉房 ","030501","专家楼负一层","锅炉给水泵 （循环水泵）","2003006739","2立方米/H 12M",1]
["平均年限法(二)",null,"01741",5,"锅炉房 ","030501","专家楼负一层","锅炉给水泵 （循环水泵）","2003006738","2立方米/H 12M",1]
["平均年限法(二)",null,"01742",6,"锅炉房 ","030501","专家楼负一层","平板式换热器","2003006737","500KW",1]
["平均年限法(二)",null,"01743",7,"锅炉房 ","030501","专家楼负一层","锅炉给水泵（供热水泵）","2003006735","KLW40-160",1]
["平均年限法(二)",null,"01744",8,"锅炉房 ","030501","专家楼负一层","锅炉给水泵（蓄热水循环泵）","2003006733","KLWR40-125",1]
["平均年限法(二)",null,"01745",9,"锅炉房 ","030501","专家楼负一层","气罐（蓄热罐）","2003006732","24立方米",1]
["平均年限法(二)",null,"01746",10,"锅炉房 ","030501","专家楼负一层","电热锅炉","2003006731","LD20.180-0.7185170",1]
["平均年限法(二)",null,"01747",11,"锅炉房 ","030501","专家楼负一层","锅炉给水泵（供热水泵）","2003006736","KLW40-160",1]
[{"$nulls":3},12,"锅炉房","030501","专家楼负一层","热水循环泵","2015038169","*",1]
[{"$nulls":3},13,"锅炉房","030501","专家楼负一层","热水循环泵","2015038170","*",1]
[{"$nulls":3},14,"锅炉房 ","030501","专家楼负一层","分时电价控制柜","00006428","*",1]
[{"$nulls":3},"合计",{"$nulls":6},14]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}